| Digital Platform for efficient remote management of Indian Antarctic Research Stations |  |
| --- | --- |
| Description | Develop a Digital Twin framework for Maitri and Bharati stations integrating infrastructure, energy, logistics and environmental monitoring for efficient remote management.<br><br> |

This problem statement is essentially asking you to build a remote-control + monitoring system for Antarctic research stations using a Digital Twin.

### What you would actually build

Maitri + Bharati → Sensors/Data → Digital Twin → Remote Control & Decision Support

| Module | What your system should do |
| --- | --- |
| 🏢 Infrastructure | 3D representation of station buildings, rooms, equipment and critical assets |
| ⚡ Energy | Monitor power generation/consumption and identify inefficient usage |
| 🌡️ Environment | Track temperature, humidity, weather and other environmental parameters |
| 📦 Logistics | Track supplies, inventory and important equipment |
| 🔧 Maintenance | Detect abnormal sensor readings and predict possible equipment failures |
| 🚨 Alerts | Notify operators about critical conditions |
| 🧪 Simulation | Allow "what-if" scenarios such as power failure or equipment breakdown |
| 🛰️ Remote Management | Synchronize station data despite limited/low-bandwidth connectivity |

### The core idea

Instead of an operator seeing dozens of separate sensor dashboards:

The Digital Twin gives them a virtual representation of the entire Antarctic station and its current condition.

For example:

Bharati Station
→ Power system showing abnormal consumption
→ Temperature sensor showing overheating
→ AI detects anomaly
→ Dashboard highlights the affected equipment
→ Operator receives alert
→ System recommends an action

### A strong prototype architecture

ANTARCTIC STATION

│

┌──────────┴──────────┐

│                     │

IoT Sensors          Existing Data

│                     │

└──────────┬──────────┘

↓

Data Gateway

↓

Low-Bandwidth Sync

↓

Cloud / Server

↓

Digital Twin

┌──────────┼──────────┐

↓          ↓          ↓

3D Model   Analytics    AI/ML

│          │          │

└──────────┼──────────┘

↓

REMOTE DASHBOARD

│

┌──────────┼──────────┐

↓          ↓          ↓

Monitor     Alerts    Simulation

### For an SIH prototype

You do not need to physically build an Antarctic station.

A convincing prototype could demonstrate:

- Interactive 3D Maitri/Bharati model

- Live/mock sensor data

- Temperature + humidity + energy monitoring

- Equipment health indicators

- Inventory/logistics dashboard

- AI anomaly detection

- Emergency alerts

- A "What happens if..." simulation

- Low-bandwidth/offline data synchronization

The most important differentiator would be making the Digital Twin more than just a pretty 3D model: it should reflect real-time state, detect problems, and help the remote operator make decisions.

Uploaded a file

based on this PS and the research in the word file what kinds of automations should we build

Based on the ID26060 problem statement and your research document, I would not build dozens of generic IoT automations. Your strongest SIH solution is a small set of Antarctic-specific automations that directly respond to the constraints you researched: annual resupply, unreliable satellite connectivity, structural risk, limited winter crew, and equipment maintenance. Digital Twin Framework for Mait…

## The 8 automations I would build

| Priority | Automation | Trigger | Automatic action | Why it matters |
| --- | --- | --- | --- | --- |
| ⭐⭐⭐⭐⭐ | Fuel Runway & Resupply Automation | Fuel consumption changes / stock falls | Forecasts stockout date, calculates safety margin, raises priority alert | Annual resupply makes fuel shortage potentially catastrophic |
| ⭐⭐⭐⭐⭐ | Energy Optimization Automation | Abnormal load/consumption | Detects inefficient loads, forecasts demand, recommends/executes load balancing | Reduces diesel use and detects equipment faults |
| ⭐⭐⭐⭐⭐ | Predictive Maintenance Automation | Vibration/temp/runtime trend changes | Predicts failure risk, creates maintenance task, alerts expert | Winter crew may not include specialists |
| ⭐⭐⭐⭐⭐ | Structural Health Automation | Foundation/structural sensor drift | Detects trend, escalates severity, freezes normal operation around affected asset | Directly tied to Dakshin Gangotri's structural failure |
| ⭐⭐⭐⭐⭐ | Low-Bandwidth Intelligent Sync Automation | Satellite link becomes available | Sends critical data first, compresses/aggregates, resumes interrupted transfers | This is one of your biggest differentiators |
| ⭐⭐⭐⭐ | Emergency Response Automation | Critical sensor/event combination | Triggers emergency workflow + local SOP + remote alert | Must work even without India connectivity |
| ⭐⭐⭐⭐ | Waste & Consumables Automation | Waste/consumable accumulation crosses threshold | Tracks generation, predicts storage capacity, prepares ship-out requirement | Waste management is specifically identified as an issue |
| ⭐⭐⭐⭐ | Environmental Compliance Automation | Reporting period / data update | Generates environmental reports automatically from twin data | Eliminates manual compilation |

The research explicitly proposes fuel forecasting, predictive maintenance, structural drift detection and parameterized "what-if" simulation, so these are particularly defensible in your presentation. Digital Twin Framework for Mait…

# 1. ⛽ Fuel Runway Automation — build this first

This could become one of the most impressive parts of your prototype.

Your research says the stations are resupplied roughly once a year, meaning the system cannot simply tell an operator "fuel = 42%." It needs to answer:

"At the current consumption rate, how many days until we hit the safety limit?"

The document specifically describes calculating stockout/runway against the fixed resupply date. Digital Twin Framework for Mait…

### Automation

Fuel level sensor

↓

Consumption calculation

↓

Forecast future consumption

↓

Compare with resupply date

↓

Calculate safety margin

↓

┌───────────────┐

│ Is margin low?│

└───────┬───────┘

↓ YES

Critical alert

↓

HQ notification

↓

Recommend fuel conservation

### Example

Current fuel: 18,500 L

Predicted consumption: 420 L/day

Expected resupply: 52 days

The system calculates:

Runway = 44 days

So:

8-day deficit → HIGH RISK

Then the system could automatically recommend:

Reduce noncritical loads → inspect abnormal consumption → initiate contingency plan.

That is much stronger than simply showing a fuel gauge.

# 2. ⚡ Autonomous Energy Optimization

Your system should continuously understand:

Generation → consumption → available reserve → predicted demand

The research specifically proposes diesel genset monitoring, runtime-to-service and load forecasting, while also preparing the framework for future solar/wind integration at Maitri-II. Digital Twin Framework for Mait…

### Automation

Genset data

Solar/wind data

HVAC loads

Station occupancy

↓

Energy prediction engine

↓

Detect abnormal consumption

↓

Identify likely source

↓

Recommend optimal load configuration

### Example

Normally:

Station consumption = 120 kW

Suddenly:

Consumption = 175 kW

The system notices:

- same crew size

- same weather

- same operating period

- unusually high HVAC consumption

It flags:

Possible HVAC inefficiency / equipment fault

So energy automation also becomes an early fault-detection system.

# 3. 🔧 Predictive Maintenance Automation

Don't make the mistake of saying:

"Our AI predicts equipment failure."

without explaining how.

Your research wisely proposes relatively simple degradation models based on vibration, temperature drift and runtime because you won't have huge historical datasets from a few machines. Digital Twin Framework for Mait…

### Automation

Equipment sensors

↓

Temperature

Vibration

Runtime

Fault codes

↓

Trend analysis

↓

Health score

↓

Failure-risk prediction

↓

Maintenance alert

↓

Maintenance task generated

Example:

GENSET B

Temperature: ↑ 18%

Vibration:   ↑ 27%

Runtime:     4,820 hrs

Health Score: 61%

Risk: HIGH

Automation:

"Inspect cooling system within 48 hours."

Then log the recommendation in the twin.

This makes your Digital Twin actionable rather than visual.

# 4. 🏗️ Structural Health Automation

This is one of the most Antarctica-specific automations you can build.

Your research connects structural monitoring directly to the historical failure of Dakshin Gangotri and therefore treats foundation/structural monitoring as a core requirement. Digital Twin Framework for Mait…

### Automation

Sensors:

- foundation movement

- tilt

- vibration

- temperature

- structural drift

Then:

Sensor reading

↓

Baseline comparison

↓

Trend analysis

↓

Anomaly detected?

↓

YES

↓

Structural risk score

↓

Local alarm

↓

HQ alert when link available

Example:

Foundation tilt increasing continuously for 17 hours.

Instead of:

"Tilt = 0.8°"

your system says:

🔴 Structural drift detected — investigate Module B foundation.

That's the sort of transformation judges look for.

# 5. 🛰️ Intelligent Satellite Sync Automation — your biggest technical differentiator

This may actually be your most unique automation.

Your research states that the satellite connection is intermittent, low-bandwidth and potentially affected by weather and AGEOS-related contention. Digital Twin Framework for Mait…

Therefore:

Do NOT build

Station → Cloud → Dashboard

as though Antarctica has broadband.

Build:

Station

↓

Local database

↓

Sync Queue

↓

Priority engine

↓

Compression

↓

Satellite

↓

India

Your document proposes exactly this approach: critical alerts first, then fuel/energy changes, routine telemetry and finally historical backfill. It also specifies resumable/idempotent transfers. Digital Twin Framework for Mait…

### Automation

Suppose 100 MB of information is waiting.

The system automatically decides:

Priority 1 → Emergency alerts

Priority 2 → Fuel / energy state

Priority 3 → Recent telemetry

Priority 4 → Historical data

If the connection drops at 7 MB:

7 MB successfully transmitted

↓

Connection lost

↓

Keep remaining 93 MB queued

↓

Next connection

↓

Resume from 7 MB

That is a real automation problem, rather than a cosmetic feature.

# 6. 🚨 Emergency Response Automation

Your research emphasizes that winter crews may not have specialists for every subsystem and that emergency procedures need to remain available locally. Digital Twin Framework for Mait…

Build a rule engine such as:

IF

Generator failure

+

Outside temperature < threshold

+

Backup capacity < threshold

THEN

1. Raise CRITICAL alarm

2. Start emergency procedure

3. Show local SOP

4. Estimate heating runway

5. Notify HQ when satellite available

6. Record event

### Example

GENSET A → FAILED

GENSET B → 82% load

Outside temp → -32°C

Twin calculates:

Estimated safe heating operation: 11.4 hours

That number is far more useful to an operator than simply displaying:

"Generator A OFF."

# 7. 🗑️ Waste & Consumables Automation

This is easy to overlook, but your research specifically identifies waste management as an operational issue at Maitri. Digital Twin Framework for Mait…

You could automate:

Waste production

↓

Waste category

↓

Storage capacity

↓

Generation-rate forecast

↓

Expected full date

↓

Ship-out planning

Example:

Current waste capacity: 67%
Predicted capacity at next ship: 94%

The system can flag:

"Waste storage approaching operational limit before next resupply."

# 8. 📑 Automatic Environmental Compliance Reporting

Your research proposes using existing scientific instrumentation as read-only feeds rather than duplicating instrumentation and automatically generating environmental footprint reports. Digital Twin Framework for Mait…

So:

Environmental sensors

+

Energy usage

+

Waste data

+

Fuel consumption

↓

Environmental data engine

↓

Report generation

↓

NCPOR-ready report

Instead of an operator manually collecting information from different systems.

# 🔥 The automation that will make your Digital Twin special

There is one more feature I strongly recommend:

## "What-If" Autonomous Scenario Automation

This is what separates your system from a normal monitoring platform.

Your document explicitly states:

Twin = model + simulation, not model + dashboard. Digital Twin Framework for Mait…

Create a scenario engine where the operator selects:

Scenario:

☑ Generator B fails

☑ Resupply delayed 21 days

☑ Crew increases by 10

☑ Extreme weather

The twin calculates:

Fuel impact

Energy impact

Heating capacity

Supply runway

Critical equipment

Estimated risk

### Example

Scenario: Resupply delayed by 21 days

System responds:

Fuel          → SAFE

Food          → WARNING

Medical stock → SAFE

Waste capacity → HIGH RISK

Diesel reserve → CRITICAL

Then:

Recommended action: Reduce nonessential generator load by 12%.

That is genuine decision automation.

# 🧠 How I would combine them into your actual system

Don't present 8 unrelated features.

Present them as 5 interconnected automation engines:

POLARIS-TWIN

│

┌───────────────┼────────────────┐

↓               ↓                ↓

MONITORING       PREDICTION       SIMULATION

│               │                │

↓               ↓                ↓

┌──────────┐    ┌───────────┐    ┌───────────┐

│Structural│    │Fuel       │    │What-if    │

│Energy    │    │Maintenance│   │Scenarios  │

│Environment│   │Energy     │    │Emergency  │

└──────────┘    └───────────┘    └───────────┘

│               │                │

└───────────────┼────────────────┘

↓

AUTOMATION ENGINE

↓

Alert → Recommend → Act

↓

Local Edge Twin

↓

Intelligent Sync

↓

NCPOR HQ

The architecture in your research already supports this edge-first approach: each station remains functional locally, while India provides centralized analytics and command capabilities. Digital Twin Framework for Mait…

## My recommended SIH MVP

For your actual hackathon prototype, I would not try to fully implement all eight.

Build these five extremely well:

1. Fuel Runway Automation
2. Predictive Maintenance
3. Structural Health Detection
4. Intelligent Low-Bandwidth Sync
5. What-If Emergency Simulation

Then connect them through the 3D Digital Twin.

That gives you a very strong story:

Sense → Understand → Predict → Simulate → Decide → Act → Sync

And importantly, all five can be demonstrated with simulated sensor data even if you don't have actual Antarctic station hardware. Your research's proposed MVP also starts with a single-station offline twin before adding synchronization and predictive layers, which fits this implementation strategy. Digital Twin Framework for Mait…

Sources

in a prototype

Yes — for a prototype, you should reduce this to 4–5 visible automations that can actually be demonstrated live. Based on your PS and the research document, I would build this:

## Prototype architecture

┌─────────────────────┐

│  3D ANTARCTIC TWIN  │

│   Maitri / Bharati  │

└──────────┬──────────┘

│

Live / Simulated Data

│

┌────────────────┼────────────────┐

↓                ↓                ↓

🌡 Environment    ⚡ Energy          ⛽ Fuel

│                │                │

└────────────────┼────────────────┘

↓

AUTOMATION ENGINE

│

┌─────────────────┼──────────────────┐

↓                 ↓                  ↓

🚨 Alert         🔧 Prediction       🧪 Simulation

│                 │                  │

└─────────────────┼──────────────────┘

↓

NCPOR DASHBOARD

Your research specifically recommends an offline-first station twin, followed by predictive functions and simulation, rather than making the 3D model just a visualization. Digital Twin Framework for Mait…

# 1. ⛽ Smart Fuel Automation — must have

This should be one of your main demos.

### Prototype input

You can use:

- simulated fuel sensor data, or

- an actual ultrasonic sensor on a small tank/container.

### Automation

Fuel Level

↓

Consumption Rate

↓

Calculate Days Remaining

↓

Compare with Resupply Date

↓

Risk?

┌──┴──┐

No    Yes

│      ↓

Normal  Alert

↓

Conservation

Recommendation

### Dashboard

FUEL STATUS

Fuel:             62%

Daily consumption: 420 L

Remaining runway:  47 days

Resupply:          52 days

⚠ 5 DAY SAFETY DEFICIT

Your research explicitly identifies this runway calculation as a major requirement because supplies cannot simply be reordered during the winter. Digital Twin Framework for Mait…

# 2. 🔧 Automatic Equipment Failure Detection

Don't try to train a complicated deep-learning model for this prototype.

Use temperature + vibration/runtime + threshold/trend logic.

### Prototype

For example:

GENERATOR B

Temperature → 78°C

Normal      → <65°C

Vibration → HIGH

Runtime   → 4,820 hrs

Automation:

Sensor data

↓

Baseline comparison

↓

Anomaly detected

↓

Health score

↓

Maintenance alert

Dashboard:

🔴 GENERATOR B — HIGH FAILURE RISK
Temperature increasing abnormally
Recommended: Inspect cooling system

This matches your research's proposed simple degradation/trend models for gensets and HVAC. Digital Twin Framework for Mait…

# 3. 🏗️ Structural Safety Automation

This is where your prototype can become very SIH-specific.

Use a small physical model of a station building.

You can simulate:

Foundation

↓

Tilt / vibration sensor

↓

Structural baseline

↓

Drift detection

↓

Risk classification

For a physical demo, even a tilt sensor/IMU on your model can work.

When you physically tilt the model:

STRUCTURAL STATUS

Module B

Tilt: +1.7°

Trend: Increasing

🔴 STRUCTURAL DRIFT DETECTED

Then the 3D twin highlights Module B.

The research specifically ties this automation to the historical Dakshin Gangotri structural failure and recommends foundation/structural monitoring. Digital Twin Framework for Mait…

# 4. 🚨 Emergency Automation

This is where you combine your sensors and make the system look intelligent.

Don't make alerts independent.

Create rule combinations.

### Example

Generator B = FAILED

+

Outside temperature = -30°C

+

Backup power < 40%

↓

EMERGENCY MODE

Automatically:

### Step 1

3D twin changes affected equipment to critical state.

### Step 2

Dashboard displays:

🚨 HEATING SYSTEM AT RISK

Backup runway: 11.4 hours

Fuel reserve: 18%

Generator A: ONLINE

Generator B: FAILED

### Step 3

System shows:

Emergency SOP → Start backup generator → Reduce noncritical loads

Your research specifically calls for locally available degraded-mode runbooks and remote diagnosis support because winter crews may not contain specialists for every failure. Digital Twin Framework for Mait…

# 5. 🛰️ Intelligent Low-Bandwidth Sync

For a software prototype, absolutely build a simulation of this.

You don't need an actual satellite connection.

Create a fake:

SATELLITE LINK

CONNECTED / DEGRADED / OFFLINE

When OFFLINE:

LOCAL DATA

↓

Local Database

↓

Sync Queue

🔴 Emergency Alert

🟠 Fuel Changes

🟡 Routine Telemetry

⚪ Historical Data

When you switch the prototype to CONNECTED:

Priority Queue

↓

Compression

↓

Send critical data first

↓

Resume interrupted transfer

Your research considers this the core engineering constraint: local-first operation, delta-only sync, prioritization, compression and resumable transmission. Digital Twin Framework for Mait…

This can be an excellent judging demo.

# 6. 🧪 The killer feature: What-If Simulation

Once the above systems work, add one button:

## RUN SCENARIO

Then give the judge choices:

WHAT-IF SIMULATION

☑ Generator B Failure

☑ Resupply Delay: 21 Days

☐ Crew Increase: +10

☐ Extreme Weather

[ RUN SIMULATION ]

Your system calculates:

FUEL        → ⚠ WARNING

POWER       → 🔴 CRITICAL

HEATING     → ⚠ WARNING

SUPPLIES    → ✅ SAFE

WASTE       → ⚠ HIGH

And:

Recommended action: Reduce noncritical energy consumption by 12%.

This directly implements the research's definition of the Digital Twin as model + simulation, rather than merely a 3D dashboard. Digital Twin Framework for Mait…

# What I would physically demonstrate

You can make the entire prototype around a small tabletop Antarctic station model.

### Hardware

ESP32

│

├── Temperature sensor

├── Humidity sensor

├── Ultrasonic fuel-level sensor

├── IMU/tilt sensor

└── Optional vibration sensor

### Software

ESP32

↓

MQTT

↓

Python backend

↓

Database

↓

Automation/rules engine

↓

React dashboard

↓

Three.js 3D Digital Twin

Your research already suggests MQTT, an edge/local database, Python-based rules/ML, React and Three.js as an appropriate stack. Digital Twin Framework for Mait…

# The final prototype flow

The strongest demo would be:

Normal station → sensor anomaly → automation detects it → 3D twin highlights affected module → risk predicted → alert generated → operator runs what-if scenario → system recommends action → data waits in local queue → simulated satellite connection restores → critical event syncs to NCPOR.

That gives you a complete Sense → Detect → Predict → Simulate → Decide → Sync pipeline rather than five disconnected mini-projects.

### Priority for your team

Build first: Fuel + equipment anomaly + structural anomaly + emergency rules + offline sync.

Add next: What-if simulation.

Keep secondary: Waste tracking and environmental compliance reporting. They are supported by the research, but they are less visually compelling for a live prototype. Digital Twin Framework for Mait…

Sources

should we run the automation through the sensors in the physical model or according to a data set

For your SIH prototype, I strongly recommend a hybrid approach:

Use physical sensors for the live monitoring + automation demo, and use a dataset/simulated historical data for forecasting, predictive maintenance, and what-if scenarios.

That fits your research much better than choosing only one. Your document explicitly proposes local sensor ingestion and local rules/ML at the station, while the predictive layer uses historical/trend data. Digital Twin Framework for Mait…

## How I would divide it

| Function | Physical sensors | Dataset / simulated data |
| --- | --- | --- |
| Temperature & humidity monitoring | ✅ | Optional |
| Fuel level | ✅ | Optional |
| Structural tilt/drift | ✅ | Optional |
| Live equipment status | ✅ | Optional |
| Real-time alerts | ✅ Yes | No need |
| Anomaly detection | ✅ Yes | ✅ |
| Fuel consumption forecasting | ❌ | ✅ Yes |
| Predictive maintenance | ❌/limited | ✅ Yes |
| What-if scenarios | ❌ | ✅ Yes |
| Resupply-delay simulation | ❌ | ✅ Yes |
| Satellite/offline sync demonstration | Simulated | ✅ Yes |

### Your physical model should prove:

"Something is happening right now, and our system reacts automatically."

For example, physically heat your temperature sensor:

Temperature rises

↓

Threshold/trend detected

↓

Automation triggers

↓

3D twin shows warning

↓

Alert generated

Or tilt your station model:

Model tilts

↓

IMU detects drift

↓

Structural risk increases

↓

Module becomes RED

↓

Emergency workflow starts

That makes the demo very convincing to judges because they can physically cause the event.

## Then use the dataset for the "intelligence"

This is where you make the system look much more sophisticated.

For example, give your system 6–12 months of simulated station data:

Date

Fuel level

Fuel consumption

Generator temperature

Generator runtime

Vibration

HVAC load

Outside temperature

Crew size

Then your automation can learn the normal trend and answer:

"At this consumption rate, fuel will reach the critical threshold in 43 days."

or:

"Generator B's temperature and vibration trend indicate increasing failure risk."

Your research specifically recommends fuel-runway forecasting and degradation/trend-based maintenance models rather than pretending you have enormous Antarctic training datasets. Digital Twin Framework for Mait…

# The best SIH demonstration

I would structure your prototype like this:

### LIVE PHYSICAL EVENT

ESP32

↓

Temperature / Humidity / Ultrasonic / IMU

↓

MQTT

↓

Local database

↓

Automation Engine

↓

3D Digital Twin

### HISTORICAL DATA

CSV / Database

↓

Prediction Engine

↓

Fuel Forecast

Maintenance Risk

Energy Forecast

↓

Digital Twin

### SIMULATION

Current Twin State

↓

"What if generator B fails?"

↓

Simulation Engine

↓

Fuel + Power + Heating impact

↓

Recommended action

That aligns very well with the document's principle that the station should remain functional locally and that the twin should be model + simulation, not just a dashboard. Digital Twin Framework for Mait…

## One important point

Don't try to physically recreate every Antarctic sensor.

That's unnecessary and could actually make your prototype weaker.

For example:

- Temperature: physical

- Humidity: physical

- Fuel level: physical

- Structural tilt: physical

- Generator vibration: simulated

- Historical fuel consumption: dataset

- Resupply delay: simulation

- Satellite outage: software simulation

- Extreme Antarctic conditions: dataset/simulation

So the judges see both:

"This is physically working."

and

"This can scale to real Antarctic operational data."

### My recommendation

Make the prototype approximately 40% physical + 60% simulated/data-driven.

The physical model proves your IoT + automation, while the dataset proves your Digital Twin + prediction + simulation.

That is a much stronger SIH prototype than either a sensor-only project or a completely software-generated dashboard.